## REMOTE ACCESS TOWER
Colour | Connection type | Cable Type |  | Legend:
Yellow | Switch to IPPhone | CAT6(straight-through) |  | RAT-Remote Access Tower
Green | Switch to Serve | CAT6(straight-through) |  | MLS-Multi Layer Switch
Green | IP Phone to PC | CAT6(straight-through)
Orange | MLS to Switch | Multimode Fibre
Cable Startpoint | Cable Endpoint | Cable Tag | Cable Length | Length +10%
MLS1-FA06 | SwitchRAT-FA1 | MLS1-SWRAT1 | 480.5 | 528.55
SwitchRAT-FA2 | Server-2 | SWRAT2-SR2 | 1.5 | 1.65
SwitchRAT-FA3 | IPPhoneRAT-FA5 | SWRAT3-IPRAT5 | 1 | 1.1
IPPhoneRAT-FA1 | RATPC1 | IPRAT1-PC1 | 0.2 | 0.22
IPPhoneRAT-FA2 | RATPC2 | IPRAT2-PC2 | 0.23 | 0.253
IPPhoneRAT-FA3 | RATPC3 | IPRAT3-PC3 | 0.24 | 0.264
IPPhoneRAT-FA4 | RATPC4 | IPRAT4-PC4 | 0.25 | 0.275
532.312

## CONNECTIVITY
Connectivity
Colour | Connection type: | Cable Type |  |  | LEGEND
Yellow | Access Points to Patch Panels | Cat6(StraightThrough |  |  | Abbreviation | Description
[5 empty] | AP | Access Point
[5 empty] | SP | Server patch
Segments |  |  |  |  | WAP | Waiting Area Patch
Cable Startpoint | Cable Endpoint | Cable Tag: | Cable Length | Length +10% | RATP | Remote Access Tower patch
Access Point-Checkin | Checkin Patch-FA1 | AP1-CHIP | 72.34 | 79.574 | RAT | Remote Access Tower
Access Point-Server | Server Patch- | AP2-SP | 16.235 | 17.8585 | CP | Cellphone patch
Access Point-Public | Cellphone Patch-FA8 | AP3-CP | 120.3 | 132.33 | CHIP | Check in patch
Access Point-Waiting | Waiting Area Patch-FA1 | AP4-WAP | 46.5 | 51.15
Access Point-RAT | RemoteAccessTowerPatch-FA1 | AP5-RATP | 15.34 | 16.874
297.7865

## CELLPHONE Patch
Legend:
Colour | Connection type | Cable Type |  | CS- Coffee Shop
Yellow | Patch to IP Phone | CAT6(straight-through) |  | SS-Sweet Shop
| Patch to Switch | CAT6(straight-through) |  | SCI- Self Check-in
| IP Phone to PC | CAT6(straight-through) |  | CP-Cellphone Patch
CHIP-Check in Patch
Cable Startpoint | Cable Endpoint | Cable Tag | Cable Length | Length +10%
CSPC | IPPhoneCS | CS-IPCS | 1.59 | 1.749
SSPC | IPPhoneSS | SS-IPSS | 2.1 | 2.31
SCI1 | CellphonePatch FA1 | SCI1-CP1 | 85.25 | 93.775
SCI2 | CellphonePatch FA2 | SCI2-CP2 | 86.5 | 95.15
SCI3 | CellphonePatch FA3 | SCI3-CP3 | 87.75 | 96.525
SCI4 | CellphonePatch FA4 | SCI4-CP4 | 89.48 | 98.428
IPPhoneCS | CellphonePatch FA5 | CS-CP5 | 32.6 | 35.86
IPPhoneSS | CellphonePatch FA6 | SS-CP6 | 13.5 | 14.85
Info Kiosk1 | CellphonePatch FA7 | KI-CP7 | 70.1 | 77.11
CellphonePatch FA1 | CheckinPatch FA8 | CP1-CHIP8 | 70.19 | 77.19
CellphonePatch FA2 | CheckinPatch FA9 | CP2-CHIP9 | 70 | 77
CellphonePatch FA3 | CheckinPatch FA10 | CP3-CHIP10 | 69.98 | 76.978
CellphonePatch FA4 | CheckinPatch FA11 | CP4-CHIP11 | 69.987 | 76.985
CellphonePatch FA5 | CheckinPatch FA12 | CP5-CHIP12 | 69.89 | 76.879
CellphonePatch FA6 | CheckinPatch FA13 | CP6-CHIP13 | 69.85 | 76.835
CellphonePatch FA7 | CheckinPatch FA14 | CP7-CHIP14 | 69.8 | 76.78
1054.404

## CHECKIN Patch
|  |  |  | LEGEND |  |  | cable | colour
|  |  |  | CH- CHECKIN |  |  | Cross over | green
CHECKIN PATCH |  |  |  | WA- WAITING AREA |  |  | straight through | yellow
IP- IP Phone
start point |  | end point | cable tag |  | cable length | length +10% | cable type
CH-KIOSK-FA15 | FA15 | WA-Patch-FA15 | CHpatch to WApatch-FA15 |  | 23.7 | 23.7 | CAT 6(straight though)
CH-PC1 |  | CH-Patch-FA2 | CHPC1 to CHpatch-FA2 |  | 11.3 | 12.43 | CAT 6(straight though)
CH-PC2 |  | CH-Patch-FA3 | CHPC1 to CHpatch-FA3 |  | 12.3 | 13.53 | CAT 6(straight though)
CH-PC3 |  | CH-Patch-FA4 | CHPC1 to CHpatch-FA4 |  | 13.3 | 14.43 | CAT 6(straight though)
CH-PC4 |  | CH-Patch-FA5 | CHPC1 to CHpatch-FA5 |  | 14.3 | 15.73 | CAT 6(straight though)
CH-IPPone1 |  | CH-Patch-FA6 | CHIP1 to CHpatch-FA6 |  | 11.3 | 12.43
CH-IPPone2 |  | CH-Patch-FA7 | CHIP2 to CHpatch-FA7 |  | 11.3 | 12.43
104.68
PATCH TO PATCH
start point |  | end point | cable tag |  | cable length | length +10% | cable type
CH-Patch-PC1 | FA1 | WA-Patch-FA1 | CHpatch to WApatch-FA1 |  | 74.9 | 82.39 | CAT 6(straight though)
CH-Patch-PC2 | FA2 | WA-Patch-FA2 | CHpatch to WApatch-FA2 |  | 74.9 | 82.39 | CAT 6(straight though)
CH-Patch-PC3 | FA3 | WA-Patch-FA3 | CHpatch to WApatch-FA3 |  | 74.9 | 82.39 | CAT 6(straight though)
CH-Patch-PC4 | FA4 | WA-Patch-FA4 | CHpatch to WApatch-FA4 |  | 74.9 | 82.39 | CAT 6(straight though)
CH-Patch-PC5 | FA5 | WA-Patch-FA5 | CHpatch to WApatch-FA5 |  | 75.23 | 82.753 | CAT 6(straight though)
CH-Patch-PC6 | FA6 | WA-Patch-FA6 | CHpatch to WApatch-FA6 |  | 75.23 | 82.753 | CAT 6(straight though)
CH-Patch-PC7 | FA7 | WA-Patch-FA7 | CHpatch to WApatch-FA7 |  | 75.47 | 76.02 | CAT 6(straight though)
CH-Patch-PC8 | FA8 | WA-Patch-FA8 | CHpatch to WApatch-FA8 |  | 76.07 | 83.68 | CAT 6(straight though)
CH-Patch-PC9 | FA9 | WA-Patch-FA9 | CHpatch to WApatch-FA9 |  | 76.07 | 83.68 | CAT 6(straight though)
CH-Patch-PC10 | FA10 | WA-Patch-FA10 | CHpatch to WApatch-FA10 |  | 76.07 | 83.68 | CAT 6(straight though)
CH-Patch-PC11 | FA11 | WA-Patch-FA11 | CHpatch to WApatch-FA11 |  | 76.07 | 83.68 | CAT 6(straight though)
CH-Patch-PC12 | FA12 | WA-Patch-FA12 | CHpatch to WApatch-FA12 |  | 76.23 | 83.85 | CAT 6(straight though)
CH-Patch-PC13 | FA13 | WA-Patch-FA13 | CHpatch to WApatch-FA13 |  | 76.23 | 83.85 | CAT 6(straight though)
CH-Patch-PC14 | FA14 | WA-Patch-FA14 | CHpatch to WApatch-FA14 |  | 76.23 | 83.85 | CAT 6(straight though)
1157.356

## WAITING AREA Patch
|  |  | LEGEND |  |  | cable | colour
|  |  | SR- Server Room | IP- IP Phone |  | Cross over | green
WAITING AREA PATCH |  |  | WA- Waiting Area |  |  | straight through | yellow
SEC- Security area
SW- Switch
start point | end point | cable tag |  | cable length | length +10% | cable type
SEC-PC1 | WA-Patch-FA15 | SECPC1 to WApatchFA15 |  | 65.23 | 82.753 | CAT 6(straight though)
SEC-PC2 | WA-Patch-FA16 | SECPC2 to WApatchFA16 |  | 65.23 | 82.753 | CAT 6(straight though)
SEC-CTscanner | WA-Patch-FA17 | SECCT to WApatchFA17 |  | 65.47 | 76.02 | CAT 6(straight though)
SEC-IPPhone1 | CH-Patch-FA4 | SECIP1 to WApatchFA4 |  | 66.07 | 83.68 | CAT 6(straight though)
SEC-IPPhone2 | CH-Patch-FA5 | SECIP2 to WApatchFA5 |  | 66.07 | 83.68 | CAT 6(straight though)
WA-PC1 | WA-Patch-FA17 | WAPC1 to WApatchFA17 |  | 66.07 | 83.68 | CAT 6(straight though)
WA-PC2 | WA-Patch-FA18 | WAPC2 to WApatchFA18 |  | 66.07 | 83.68 | CAT 6(straight though)
WA-PC3 | WA-Patch-FA19 | WAPC3 to WApatchFA19 |  | 66.23 | 83.85 | CAT 6(straight though)
WA-PC4 | WA-Patch-FA20 | WAPC4 to WApatchFA20 |  | 66.23 | 83.85 | CAT 6(straight though)
WA-IPPhone1 | WA-Patch-FA21 | WAIP1 to WApatchFa21 |  | 66.23 | 83.85 | CAT 6(straight though)
WA-IPPhone2 | WA-Patch-FA22 | WAIP2 to WApatchFa22 |  | 66.69 | 84.36 | CAT 6(straight though)
WA-KIOSK | WA-Patch-FA23 | WAKIOSK to WApatchFA23 |  | 66.69 | 84.36 | CAT 6(straight though)
996.516

## WApatch to SWITCH
|  |  | LEGEND |  |  | cable | colour
|  |  | SR- Server Room | IP- IP Phone |  | Cross over | green
WAITING AREA to SERVER ROOM |  |  | WA- Waiting Area |  |  | straight through | yellow
SEC- Security area
SW- Switch
PATCH to SW
start point | end point | cable tag |  | cable length | length +10% | cable type
WA-Patch-FA1 | SR-SW1-FA1 | WApatchFA1 to SW1 |  | 65.24 | 71.76 | CAT 6(straight though)
WA-Patch-FA2 | SR-SW1-FA2 | WApatchFA2 to SW1 |  | 65.24 | 71.76 | CAT 6(straight though)
WA-Patch-FA3 | SR-SW1-FA3 | WApatchFA3 to SW1 |  | 65.24 | 71.76 | CAT 6(straight though)
WA-Patch-FA4 | SR-SW1-FA4 | WApatchFA4 to SW1 |  | 65.24 | 71.76 | CAT 6(straight though)
WA-Patch-FA5 | SR-SW1-FA5 | WApatchFA5 to SW1 |  | 65.24 | 71.76 | CAT 6(straight though)
WA-Patch-FA6 | SR-SW1-FA6 | WApatchFA6 to SW1 |  | 65.24 | 71.76 | CAT 6(straight though)
WA-Patch-FA7 | SR-SW2-FA7 | WApatchFA7 to SW2 |  | 65.74 | 72.31 | CAT 6(straight though)
WA-Patch-FA8 | SR-SW2-FA8 | WApatchFA8 to SW2 |  | 65.74 | 72.31 | CAT 6(straight though)
WA-Patch-FA9 | SR-SW2-FA9 | WApatchFA9 to SW2 |  | 65.74 | 72.31 | CAT 6(straight though)
WA-Patch-FA10 | SR-SW2-FA10 | WApatchFA10 to SW2 |  | 65.74 | 72.31 | CAT 6(straight though)
WA-Patch-FA11 | SR-SW2-FA11 | WApatchFA11 to SW2 |  | 65.74 | 72.31 | CAT 6(straight though)
WA-Patch-FA12 | SR-SW3-FA12 | WApatchFA12 to SW3 |  | 66.11 | 72.72 | CAT 6(straight though)
WA-Patch-FA13 | SR-SW3-FA13 | WApatchFA13 to SW3 |  | 66.11 | 72.72 | CAT 6(straight though)
WA-Patch-FA14 | SR-SW3-FA14 | WApatchFA14 to SW3 |  | 66.11 | 72.72 | CAT 6(straight though)
WA-Patch-FA15 | SR-SW3-FA15 | WApatchFA15 to SW3 |  | 66.11 | 72.72 | CAT 6(straight though)
WA-Patch-FA16 | SR-SW3-FA16 | WApatchFA16 to SW3 |  | 66.11 | 72.72 | CAT 6(straight though)
WA-Patch-FA17 | SR-SW3-FA17 | WApatchFA17 to SW3 |  | 66.11 | 72.72 | CAT 6(straight though)
WA-Patch-FA18 | SR-SW4-FA18 | WApatchFA18 to SW4 |  | 66.47 | 73.11 | CAT 6(straight though)
WA-Patch-FA19 | SR-SW4-FA19 | WApatchFA19 to SW4 |  | 66.47 | 73.11 | CAT 6(straight though)
WA-Patch-FA20 | SR-SW4-FA20 | WApatchFA20 to SW4 |  | 66.47 | 73.11 | CAT 6(straight though)
WA-Patch-FA21 | SR-SW4-FA21 | WApatchFA21 to SW4 |  | 66.47 | 73.11 | CAT 6(straight though)
WA-Patch-FA22 | SR-SW4-FA22 | WApatchFA22 to SW4 |  | 66.47 | 73.11 | CAT 6(straight though)
WA-Patch-FA23 | SR-SW4-FA23 | WApatchFA23 to SW4 |  | 66.47 | 73.11 | CAT 6(straight though)
1667.09

## STAFF ONLY AREA
Security Room |  |  |  | cable |  | colour
|  |  |  | Cross over |  | green
Legend: |  |  |  | straight through |  | yellow
SecPatch | Security Patch
SR | Security Room
Cable startpoint | Cable Endpoint | Cable Tag | Cable Length | Length + 10% | cable type
SecPatch-FA 1 | SR-PC1 | PC1 to SecPatch-FA-1 | 2.5 | 2.75 | CAT 6(straight though)
SecPatch-FA 2 | SR-PC2 | PC2 to SecPatch-FA-2 | 2.6 | 2.86 | CAT 6(straight though)
SecPatch-FA 3 | SR-PC3 | PC3 to SecPatch-FA-3 | 2.7 | 2.97 | CAT 6(straight though)
Secpatch-FA 4 | SR-PC4 | PC4 to Secpatch-FA-4 | 2.8 | 3.08 | CAT 6(straight though)
Manager Room
Legend:
SecPatch | Security Patch
MR | Manager Room
Cable Startpoint | Cable Endpoint | Cable Tag | Cable Length | Length + 10% | cable type
SecPatch-FA-5 | MR-(IP-Phone1) | IP-Phone1 to SecPatch-FA-5 | 14.67 | 16.137 | CAT 6(straight though)
MR-(IP-Phone1) | MR-PC5 | PC5 to IP-Phone1 | 0.55 | 0.605 | CAT 6(straight though)
SecPatch-FA-6 | Mr-Printer1 | Printer1 to SecPatch-FA-6 | 13.98 | 15.378 | CAT 6(straight though)
Stuff Launge
Legend:
SecPatch | Security Patch
SL | Stuff Launge
Cable Startpoint | Cable Endpoint | Cable Tag | Cable Length | Length + 10% | cable type
SecPatch-FA-7 | SL-PC6 | PC6 to SecPatch-FA-7 | 27.87 | 30.657 | CAT 6(straight though)
SecPatch-FA-8 | SL-PC7 | PC7 to SecPatch-FA-8 | 27.88 | 30.668 | CAT 6(straight though)
SecPatch-FA-9 | SL-Printer2 | Printer2 to SecPatch-FA-9 | 27.89 | 30.679 | CAT 6(straight though)
GiftShop
Legend:
SecPatch | Security Patch
GS | Gift Shop
Cable Startpoint | Cable Endpoint | Cable Tag | Cable Length | Length + 10% | cable type
SecPatch-FA-10 | GS-(IP-Phone2) | IP-Phone2 to SecPatch-FA-10 | 38.23 | 42.053 | CAT 6(straight though)
GS-(IP-Phone2) | GS-PC8 | PC8 to IP-Phone2 | 0.55 | 0.605 | CAT 6(straight though)
BookShop
Legend:
SecPatch | Security Patch
BS | Book Shop
Cable Startpoint | Cable Endpoint | Cable Tag | Cable Length | Length + 10% | cable type
SecPatch-FA-11 | BS-(IP-Phone3) | IP-Phone3 to SecPatch-FA-11 | 46.78 | 51.458 | CAT 6(straight though)
BS-(IP-Phone3) | BS-PC9 | PC9 to SecPatch-FA-11 | 0.55 | 0.605 | CAT 6(straight though)

## SERVER ROOM
Legend: |  |  |  | cable |  | colour
SR | Server Room |  |  | Cross over |  | green
SW | Switch |  |  | straight through |  | yellow
RT | Router |  |  | optiv fiber |  | orange
ServerRoom
Cable Start | Cable Endpoint | Cable Tag | Cable Length | Length + 10% | cable type
SR-MLS1-Fa0/7 | SR-Server-Fa0 | MLS1-Fa0/7 - Main server | 2.58 | 2.84 | CAT 6(straight though)
SR-MLS1-FA0/1 | SR-SW1-Fa0/6 | MLS1-Fa0/1 to SW1-Fa0/6 | 1.83 | 2.013 | CAT 6(cross over)
SR-MLS1-Fa/8 | SR-SW2-Fa0/1 | MLS1-Fa0/8 to SW2-Fa0/1 | 1.84 | 2.024 | CAT 6(cross over)
SR-MLS1-Fa0/11 | SR-SW3-Fa0/2 | MLS1-Fa0/11 to SW3-Fa0/2 | 1.85 | 2.035 | CAT 6(cross over)
SR-MLS1-Fa0/10 | SR-SW4-Fa0/1 | MLS1-Fa0/10 to SW4-Fa0/11 | 1.86 | 2.046 | CAT 6(cross over)
SR-MLS1-Fa0/12 | SR-RT1-G1/5 | MLS1-Fa0/12 to RT1-G1/5 | 0.76 | 0.836 | CAT 6(straight though)
SR-MLS1-Fa0/2 | SR-RT2-G1/2 | MLS1-Fa0/2 to RT2-G1/2 | 1.86 | 2.046 | CAT 6(straight though)
SR-MLS1-Fa0/3-5,16 | SR-MLS2- | MLS1-Fa0/3-5,16 to MLS2 | 1.87 | 2.057 | CAT 6(cross over)
SR-MLS-Fa0/6 | RAT-SW5-Fa0/1 | MLS1-Fa0/6 to RAT-SW5-Fa0/1 | 480.5 | 528.55 | Multimode Fiber Optic
SR-MLS2-Fa0/6 | SR-Server-Fa0/ | MLS2-Fa0/ to Main server | 2.68 | 2.948 | CAT 6(straight through)
SR-MLS2-Fa0/9 | SR-SW1-Fa0/2 | MLS2-Fa0/9 to SW1-Fa0/2 | 1.98 | 2.178 | CAT 6(cross over)
SR-MLS2-Fa0/11 | SR-SW2-Fa0/2 | MLS2-Fa0/11 to SW2-Fa0/2 | 1.99 | 2.189 | CAT 6(cross over)
SR-MLS2-Fa0/8 | SR-SW3-Fa0/1 | MLS2-Fa0/8 to SW3-Fa0/1 | 1.100 | 1.21 | CAT 6(cross over)
SR-MLS2-Fa0/10 | SR-SW4-Fa0/2 | MLS2-Fa0/10 to SW4-Fa0/2 | 1.101 | 1.211 | CAT 6(cross over)
SR-MLS2-Fa0/2 | SR-RT1-G1/3 | MLS2-Fa0/2 to RT1-G1/3 | 1.86 | 2.046 | CAT 6(straight though)
SR-MLS2-Fa0/1 | SR-RT2-G1/1 | MLS2-Fa0/1 to RT2-G1/1 | 1.87 | 2.057 | CAT 6(straight though)
0
From ServerRoom to SecurityRoom
Cable startpoint | Cable Endpoint | Cable Tag | Cable Length | Length + 10%
SR-SW1 | SecPatch | SW1 to SecPatch | 15.55 | 1.555